## Report
ABR REVIEW SHEET (v14 January 2014) | [12 empty] | Standard | Agree | Reason | ScnOut | NICU | Transducer | Outcome | Discuss | Quality | Action | Category | Admin | Parmeters | Recording_Quality | Display | Interpretation | Strategy | CM
For Tester Use | Site/Dept |  | Comments from tester re background / results / plans for further tests etc. (Do not exceed cell width) | [9 empty] | Yes | Yes | Select Reason | Select Screen Outcome | Select | Select Transducer | Select Outcome | Select | Select Quality | Select Action | Admin | No Case ID | Stimulus not Alternating | High number of rejects indicating poor recording conditions | Display aspect ratio outside recommended range | Not replicated at levels defining the threshold | BC would be helpful | Waveforms (each polarity) must be replicated but were not
| Tester |  | Well baby. ABR at 1 week corrected age suggested severe bilateral loss but had considerable | [9 empty] | No | No | Newborn screen referral | NCR bilateral | Yes | Insert / Pips | Discharge | Yes | OK | OK/None | Parameters | Incomplete date/age info | Tone pip incorrect (ie not 2:1:2) | Low number of rejects suggests reject level was not optimal | Display aspect ratio not optimal for these waveforms | Labelled CR but is inconclusive | Other frequencies would be helpful | Click ABR at same level needed for interpretation
| Case ID | Example | interference issues so results uncertain. | [11 empty] | Atresia | NCR unilateral L | No | Insert / Chirps | Discharge with F/U | No | Improvement indicators | ABR repeat | Recording_Quality | Incomplete future strategy info | Rep rate not optimal | Excessive electrical noise apparent | Incorrect superposition of traces | Labelled CR but is RA | Clicks would be helpful | Display aspect ratio not optimal
| Reason for test | Newborn screen referral | Today bilateral flat loss confirmed. Tymps flat R & L. Impressions taken. | [11 empty] | Meningitis | NCR unilateral R |  | TDH / Pips | Further ABR |  | Poor/Unsatisfactory | Review at 8m | Display | Incomplete intended management info | Exceeded max level with inserts | Other - Recording Quality | CR/RA/Inc not clearly marked at each test level | Labelled CR but unreplicated waveform | Unnecessary replication at levels not defining threshold | Rejection level outside recommended range
| Newborn Screen outcome | NCR bilateral | [12 empty] | Professional concern | CR bilateral |  | TDH / Chirps | F/U at 8m |  |  | Other | Interpretation | Other - Admin | Time window not optimal |  | Too many different stimuli displayed on one chart | Labelled RA but is inconclusive | Too many Inc traces at different levels | CM test not done when appropriate
| Date of test (dd/mm/yyyy) | [13 empty] | Parental concern | No screen |  |  | PCHI management |  |  |  | Strategy |  | Low no of sweeps used |  | Patient identifying details not removed from printout | Labelled RA but is CR | Many thresholds <= | No run with tube clamped when CM looks present
| Corrected Age at test (weeks) | 6 | Aids fitted - for F/U at 8/12. | [11 empty] | Other high risk | [7 empty] | CM |  | Filters not optimal |  | Other - Display | Labelled RA but unreplicated waveform | Too many levels used not near threshold | CM Interpretation doubtful
| Over 48 hr in NICU/SCBU - yes/no | No | [22 empty] | Gain/artefact reject level not optimal |  |  | Labelled inconclusive but is CR | Only 1 ear tested | Other - CM
| ABR AC Transducer / Stim Type | Insert / Pips | [22 empty] | Notch filter used |  |  | Labelled inconclusive but is RA | Lack of gold standard on each ear (AC and/or BC)
| Outcome of ABR/any further action | PCHI management | [22 empty] | Blocking period or appearance inappropriate |  |  | Threshold recorded as = when should be <= | Gap between CRs that define gold standard threshold is >10dB
| Date of next appt if any | [23 empty] | Masking - none or insufficient level when needed |  |  | More than 2 traces overlaid | A further 2 waveforms, added pairwise needed to resolve Inc
| Date sent for review | [23 empty] | Masking - on all time |  |  | Inaccurate or doubtful peak labelling | Discharged but discharge level not reached
For Reviewer use | Reviewer name |  | Comments from Reviewer (Do not exceed cell width; use separate rows) | [21 empty] | Other - Parameters |  |  | nHL to eHL correction incorrect | Should test to lower level (eg in UHL or on BC to define ABG)
|  |  | Good that you got 2 frequencies but RA requires replication, with noise <25nV. | [24 empty] | Mismatch between chart and eSP/spreadsheet entry | Other - Strategy
|  |  | It is important to know if this baby has a conductive or sensorineural loss so I would urge you to | [24 empty] | Reported as Gold Standard but is not
| Date review returned to site |  | consider bringing back for 4k BC. If need to aid take care with fitting as AC thresholds could be lower. | [24 empty] | Other - Interpretation
| Discussed with tester? yes/no | No
| ABR quality judgement | Improvement indicators | Note to reviewer: there are 6 rows above for your comments. Limit what you enter in each cell so
| Action required beyond planned? | ABR repeat | that it can be read (no text is hidden), as in this example. These cells do not wrap the text.
ABR THRESHOLDS in dBnHL |  |  | RIGHT EAR |  |  |  |  | LEFT EAR
|  |  | Air Conduction |  |  |  |  | Air Conduction
Notes: |  |  | 0.5k | 1k | 2k | 4k | Click/CM | 0.5k | 1k | 2k | 4k | Click/CM
Use =, <=, or > prefix |  | tester - result: |  | =80 |  | =75 |  |  | =75 |  | =70
If masking was used add (M) after the result e.g. =40(M) |  | Gold standard? |  | Yes |  | Yes |  |  | Yes |  | Yes
By convention, |  | reviewer - result: |  | <=80 |  | <=75 |  |  | <=75 |  | <=75
<=50 is taken as 'agreeing within 10dB' with =50 but |  | reviewer - agree within 10dB? |  | No |  | No |  |  | No |  | No
<=55 (or more) is taken as not agreeing with =55 (or more) |  |  | Bone Conduction |  |  |  |  | Bone Conduction
Agree within 10dB also requires agreement with standard |  |  | 0.5k | 1k | 2k | 4k | Click | 0.5k | 1k | 2k | 4k | Click
Gold std requires = some threshold (or <=30eHL AC4kHz) |  | tester - result:
Gold standard?
Reviewer explanations may be added as comments - |  | reviewer - result:
Hover mouse over cells with red corner to view comment |  | reviewer - agree within 10dB?
| Category | Indicator |  |  |  | Details (Do not exceed cell width)
Improvement indicator | Interpretation | Labelled RA but unreplicated waveform |  |  |  | 4k Rt 70, 4k Lt 60, 1k Rt 75, 1k Lt 70. These do not qualify for RA.
Improvement indicator | Interpretation | Threshold recorded as = when should be <= |  |  |  | All. Without valid RA these must be reported as <=
Improvement indicator | Interpretation | Reported as Gold Standard but is not |  |  |  | All. Gold standard thresholds >30dBeHL require an RA 5-10dB below threshold
Improvement indicator | Interpretation | Mismatch between chart and eSP entry |  |  |  | 4k Lt 70 marked Inc (correct) but reported as though it was CR
Improvement indicator | Interpretation | More than 2 traces overlaid |  |  |  | 4k Lt 75 - makes estimation of residual noise difficult
Improvement indicator | Strategy | A further 2 waveforms, added pairwise needed to resolve Inc |  |  |  | Additional traces for Lt 4k at 70 to resolve.
Improvement indicator | Strategy | BC would be helpful |  |  |  | Is this case conductive or sensorineural?
Improvement indicator
Improvement indicator | [5 empty] | NB "reviewer - agree within 10dB" is No (see cell A30)
Improvement indicator
Improvement indicator
Improvement indicator | Admin
General / other Reviewer comments | This area can also be used for further comments by the reviewer if needed.
Number of improvement indicators in each category |  |  | Outcome measures
Admin | 1 |  | thresholds | n agree | n disagree | % agree
Parameters | 0 |  | reviewer | 0 | 4 | 0%
Recording Quality | 0 |  | No of categories |  |  | 3
Display | 0 |  | No of improvement indicators |  |  | 8
Interpretation | 5
Strategy | 2
CM | 0
Note on B8: Baby's corrected age on date of test in whole weeks (based on normal full term of 40 weeks). Example: Born at 37 weeks, tested at 4 weeks old, corrected age = 37 - 40 + 4 = 1
Note on D2: Use this to note anything of relevence e.g. atresia, restless baby, sedation tymp results, etc.
Note on M24: E.g >85/present
Note on H24: E.g >85/present

## Improvement Indicators
This page lists the available improvement indicators to make finding the one you need easier
Admin | No Case ID | A1
| Incomplete date/age info | A2
| Incomplete future strategy info | A3
| Incomplete intended management info | A4
| Other - Admin | A5
Parameters | Stimulus not Alternating | P1
| Tone pip incorrect (ie not 2:1:2) | P2
| Rep rate not optimal | P3
| Exceeded max level with inserts | P4
| Time window not optimal | P5
| Low no of sweeps used | P6
| Filters not optimal | P7
| Gain/artefact reject level not optimal | P8
| Notch filter used | P9
| Blocking period or appearance inappropriate | P10
| Masking - none or insufficient level when needed | P11
| Masking - on all time | P12
| Other - Parameters | P13
Recording_Quality | High number of rejects indicating poor recording conditions | Q1
| Low number of rejects suggests reject level was not optimal | Q2
| Excessive electrical noise apparent | Q3
| Other - Recording Quality | Q4
Display | Display aspect ratio outside recommended range | D1
| Display aspect ratio not optimal for these waveforms | D2
| Incorrect superposition of traces | D3
| CR/RA/Inc not clearly marked at each test level | D4
| Too many different stimuli displayed on one chart | D5
| Patient identifying details not removed from printout | D6
| Other - Display | D7
Interpretation | Not replicated at levels defining the threshold | I1
| Labelled CR but is inconclusive | I2
| Labelled CR but is RA | I3
| Labelled CR but unreplicated waveform | I4
| Labelled RA but is inconclusive | I5
| Labelled RA but is CR | I6
| Labelled RA but unreplicated waveform | I7
| Labelled inconclusive but is CR | I8
| Labelled inconclusive but is RA | I9
| Threshold recorded as = when should be <= | I10
| More than 2 traces overlaid | I11
| Inaccurate or doubtful peak labelling | I12
| nHL to eHL correction incorrect | I13
| Mismatch between chart and eSP/spreadsheet entry | I14
| Reported as Gold Standard but is not | I15
| Other - Interpretation | I16
Strategy | BC would be helpful | T1
| Other frequencies would be helpful | T2
| Clicks would be helpful | T3
| Unnecessary replication at levels not defining threshold | T4
| Too many Inc traces at different levels | T5
| Many thresholds <= | T6
| Too many levels used not near threshold | T7
| Only 1 ear tested | T8
| Lack of gold standard on each ear (AC and/or BC) | T9
| Gap between CRs that define gold standard threshold is >10dB | T10
| A further 2 waveforms, added pairwise needed to resolve Inc | T11
| Discharged but discharge level not reached | T12
| Should test to lower level (eg in UHL or on BC to define ABG) | T13
| Other - Strategy | T14
CM | Waveforms (each polarity) must be replicated but were not | C1
| Click ABR at same level needed for interpretation | C2
| Display aspect ratio not optimal | C3
| Rejection level outside recommended range | C4
| CM test not done when appropriate | C5
| No run with tube clamped when CM looks present | C6
| CM Interpretation doubtful | C7
| Other - CM | C8

## audit
|  |  |  | Dates |  |  |  |  | Outcome measures |  |  |  |  | Number of improvement indicators in each category | [6 empty] | Improvement Indicators Recorded | [11 empty] | Labelled RA but unreplicated waveform | Threshold recorded as = when should be <= | Reported as Gold Standard but is not | Mismatch between chart and eSP entry | More than 2 traces overlaid | A further 2 waveforms, added pairwise needed to resolve Inc | BC would be helpful | 0 | 0 | 0 | 0 | 0
Tester | Reviewer | Case ID | Outcome of ABR/any further action | Date of test (dd/mm/yyyy) | Date test sent for review | Date review returned to site | Days between testing and sending | Days between received and returned to site | Reviewer No. agree | Reviewer No. disagree | Reviewer % agree | No. of categories | No. of improvement indicators | Admin | Parameters | Recording Quality | Display | Interpretation | Strategy | CM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | I7 | I10 | I15 | #N/A | I11 | T11 | T1 | #N/A | #N/A | #N/A | #N/A | #N/A | Indicator | Code | Category | Code
0 | 0 | Example | PCHI management | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 3 | 8 | 1 | 0 | 0 | 0 | 5 | 2 | 0 | I7 | I10 | I15 | #N/A | I11 | T11 | T1 | #N/A | #N/A | #N/A | #N/A | #N/A
[45 empty] | No Case ID | A1 | Admin | A
[45 empty] | Incomplete date/age info | A2 | Parameters | S
[45 empty] | Incomplete future strategy info | A3 | Recording_Quality | Q
[45 empty] | Incomplete intended management info | A4 | Display | D
[45 empty] | Other - Admin | A5 | Interpretation | I
[45 empty] | Stimulus not Alternating | P1 | Strategy | T
[45 empty] | Tone pip incorrect (ie not 2:1:2) | P2 | CM | C
[45 empty] | Rep rate not optimal | P3
[45 empty] | Exceeded max level with inserts | P4
[45 empty] | Time window not optimal | P5
[45 empty] | Low no of sweeps used | P6
[45 empty] | Filters not optimal | P7
[45 empty] | Gain/artefact reject level not optimal | P8
[45 empty] | Notch filter used | P9
[45 empty] | Blocking period or appearance inappropriate | P10
[45 empty] | Masking - none or insufficient level when needed | P11
[45 empty] | Masking - on all time | P12
[45 empty] | Other - Parameters | P13
[45 empty] | High number of rejects indicating poor recording conditions | Q1
[45 empty] | Low number of rejects suggests reject level was not optimal | Q2
[45 empty] | Excessive electrical noise apparent | Q3
[45 empty] | Other - Recording Quality | Q4
[45 empty] | Display aspect ratio outside recommended range | D1
[45 empty] | Display aspect ratio not optimal for these waveforms | D2
[45 empty] | Incorrect superposition of traces | D3
[45 empty] | CR/RA/Inc not clearly marked at each test level | D4
[45 empty] | Too many different stimuli displayed on one chart | D5
[45 empty] | Patient identifying details not removed from printout | D6
[45 empty] | Other - Display | D7
[45 empty] | Not replicated at levels defining the threshold | I1
[45 empty] | Labelled CR but is inconclusive | I2
[45 empty] | Labelled CR but is RA | I3
[45 empty] | Labelled CR but unreplicated waveform | I4
[45 empty] | Labelled RA but is inconclusive | I5
[45 empty] | Labelled RA but is CR | I6
[45 empty] | Labelled RA but unreplicated waveform | I7
[45 empty] | Labelled inconclusive but is CR | I8
[45 empty] | Labelled inconclusive but is RA | I9
[45 empty] | Threshold recorded as = when should be <= | I10
[45 empty] | More than 2 traces overlaid | I11
[45 empty] | Inaccurate or doubtful peak labelling | I12
[45 empty] | nHL to eHL correction incorrect | I13
[45 empty] | Mismatch between chart and eSP/spreadsheet entry | I14
[45 empty] | Reported as Gold Standard but is not | I15
[45 empty] | Other - Interpretation | I16
[45 empty] | BC would be helpful | T1
[45 empty] | Other frequencies would be helpful | T2
[45 empty] | Clicks would be helpful | T3
[45 empty] | Unnecessary replication at levels not defining threshold | T4
[45 empty] | Too many Inc traces at different levels | T5
[45 empty] | Many thresholds <= | T6
[45 empty] | Too many levels used not near threshold | T7
[45 empty] | Only 1 ear tested | T8
[45 empty] | Lack of gold standard on each ear (AC and/or BC) | T9
[45 empty] | Gap between CRs that define gold standard threshold is >10dB | T10
[45 empty] | A further 2 waveforms, added pairwise needed to resolve Inc | T11
[45 empty] | Discharged but discharge level not reached | T12
[45 empty] | Should test to lower level (eg in UHL or on BC to define ABG) | T13
[45 empty] | Other - Strategy | T14
[45 empty] | Waveforms (each polarity) must be replicated but were not | C1
[45 empty] | Click ABR at same level needed for interpretation | C2
[45 empty] | Display aspect ratio not optimal | C3
[45 empty] | Rejection level outside recommended range | C4
[45 empty] | CM test not done when appropriate | C5
[45 empty] | No run with tube clamped when CM looks present | C6
[45 empty] | CM Interpretation doubtful | C7
[45 empty] | Other - CM | C8